## Slide 1: Evaluation of safety and efficacy of CardiaMed heart valve prosthesis in a multicenter study on patients undergoing open heart valve surgery
Principal investigator:
Dr. Gholamreza Omrani

## Slide 2
Freely floating valve leaflets, CardiaMed

## Slide 3: Rationale
The CardiaMed valve (CardiaMed; Uden, Netherlands and Penza, Russia) was first approved for clinical use in 2003. The valve contains 2 leaflets that rotate around a central axis. Based on the results of two leading studies, the CardiaMed heart valve displays an excellent hemodynamic profile and minimal rates of valve-related adverse events.
Due to US sanctions and the high cost of available prosthetic valves, the CardiaMed prosthetic valves can be an appropriate alternative for the available prosthetic valves.

## Slide 4: Literature review 1
In a multicenter study performed in Russia, the efficacy and safety of the CardiaMed prosthetic heart valve was evaluated in patients who underwent mitral (209) or aortic (211) valve replacement from 2003 to 2004 at 7 institutions
The 7-year survival rate was 85%, 86%, and 84 in total, AV, and MV groups, respectively.
Structural valve failure (0%/patient-year), thrombosis (0.63%/patient-year), thromboembolic complications (0.13%/patient-year), hemorrhagic bleeding (0.64%/patient-year), prosthetic endocarditis (0.28%/patient-year), and hemolysis (0%/patient-year).
Asian cardiovascular & thoracic annals. 2014;22(1):9-17

## Slide 5: Literature review 2
A prospective clinical trial study was performed in Egypt to compare the outcomes of CardiaMed with those of Saint Jude Medical (SJM) prosthetic valve in the 60 MV replacements
All patients were followed up at three and six months post-operatively
The PPG and MPG were slightly higher in Group I (10.9 ± 1.2 and 5.3 ± 0.9) than in Group II (10.2 ± 2.3 and 5.2 ± 1.3)
Early post-operative complications (re-exploration for bleeding, rhythm disturbance, or wound infection) were seen in 4 patients (13.3%) in CardiaMed and in 5 patients (16.7%) in SJM group.
Journal of Egyptian Society of Cardio-Thoracic Surgery. 2017;25(3):242-8

## Slide 6: Methods 1
In a quasi-experimental pilot study, one-hundred patients with rheumatic heart disease will be enrolled into this study. All patients will be selected from 4 centers in Iran, including Rajaie hospital of Tehran, Shahid Madani hospital of Tabriz, Chamran hospital of Ahwaz, and Dena hospital of Shiraz.
All patients will undergo open heart valve surgery and the mechanical CardiaMed valve will be deployed in the position of mitral and aortic valves.
Exclusion criteria included patients undergoing re-do valve surgeries, patients with left ventricular ejection fraction <40%, and patients younger than 18 and older than 65 years old.

## Slide 7: Methods 2
During follow-up period, all patients will be evaluated by echocardiography at 5 steps, including preoperative, intraoperative, early postoperative (within 1st week), 6 months after surgery, and 1 year after surgery. All bleeding, thromboembolic events, and re-operation rates will be pursued in this study.
The anticoagulation status will be evaluated by INR during any steps of follow-up mentioned here.
Concomitantly, all mentioned follow-up examinations will be performed in patients who undergo valvular replacement using other mechanical valves during study period in all canters. This control groups will have similar inclusion and exclusion criteria.

## Slide 8: Costs
 | Budget provider | Number of services | Fee for each service | Total fee
Prosthetic valve | Dastavard-e-Sina Co. | For 100 patients | 61,000,000 Rials | 6,100,000,000 Rials
Technician for data collection and data entering into software | Dastavard-e-Sina Co. | 4 experts in 4 centers | 25,000,000 Rials | 100,000,000 Rials
Data analysis | Dastavard-e-Sina Co. | Analysis and report | 50,000,000 Rials | 50,000,000 Rials
Total budget | 6,250,000,000 Rials |  |  |